## Slide 1: TPAC1.1 Testing JC/Feb 6th

## Slide 2: Laser Scan: Test Pixel
Test pixels were mounted specially in centre of pcb hole
2um spot
4um steps
50 measurements/pt
 Before:
Effect hasn’t entirely disappeared!
Should repeat with aluminium plate removed and check alignment etc

## Slide 3
Laser Scan: Repeated!
Removed aluminium back plate
Black plastic under sensor
Next:
Rotate sensor 90˚
Repeat

## Slide 4: TU calibration
Method
  Fire laser at ~centre of (v1.1) test pixel
  Set fixed threshold for test pixel
  Adjust laser intensity
    Record mean signal magnitude
      can adjust aperture or intensity to get larger signals
    Record probability of hit from scope (>300 samples)
    Plot s-curve of p(hit) against signal magnitude
    Estimate p(hit)=0.5 for each threshold setting
    Plot TU versus signal magnitude
    Repeat for several sensors…

## Slide 5: TU calibration plot: all data
Chart: TU calibration
| 220 | 240 | 180 | 160 | 200 | 140 | 260 | 80 | 280 | 300 | 360 | 400 | 100 | 120 | 60 | 40 | 20
pcb31 | 122.5 | 130 | 103.75 | 95.5 | 112.75 | 86.25 | 138.75 | 62.125 | 0 | 158.75 | 188.75 | 212.5 | 0 | 0 | 0 | 0 | 0
pcb33 | 129.375 | 140 | 108.75 | 101.25 | 118.75 | 90.75 | 153.75 | 65 | 166.25 | 183.125 | 205 | 283.75 | 73.375 | 81.25 | 57.5 | 49.5 | 45.5
pcb30 | 171.25 | 235 | 108.75 | 92.5 | 131.25 | 235 | 328.75 | 328.75 | 80 | 68.75 | 57.5 | 47.25
pcb33x | 78.3951 | 87.6543 | 98.1481 | 108.0247 | 120.3704 | 129.0123 | 141.358 | 154.9383 | 171.6049 | 188.8889 | 278.3951
pcb31(rpt) | 0 | 118.125 | 0 | 80.375 | 100.75 | 0 | 0 | 47.125 | 137.5 | 154.25 | 186.25 | 208.75 | 237.5 | 62.625 | 0 | 33.125 | 0

## Slide 6: TU calibration plot: refined method
Chart: TU calibration
| 220 | 230 | 180 | 160 | 200 | 230 | 234 | 234 | 140 | 120 | 100 | 80
pcb30 | 171.25 | 235 | 108.75 | 92.5 | 131.25 | 235 | 328.75 | 328.75 | 80 | 68.75 | 57.5 | 47.25
pcb33x | 78.3951 | 87.6543 | 98.1481 | 108.0247 | 120.3704 | 129.0123 | 141.358 | 154.9383 | 171.6049 | 188.8889 | 278.3951
pcb31(rpt) | 0 | 118.125 | 0 | 80.375 | 100.75 | 0 | 0 | 47.125 | 137.5 | 154.25 | 186.25 | 208.75 | 237.5 | 62.625 | 0 | 33.125 | 0
0.4mV/TU
0.5mV/TU