## Slide 1: TPAC status
JC/Jan2010

## Slide 2: TPAC boards
PCB | Bonded | Chip | Trimmed | Potted | Status
36 | 1/12/09 (W7) | 12u-DPW | 11/12/09 | No | Good
38 |  | 12u-DPW | 16/12/09 | No | Good
44 |  | 12u+DPW | 30/12/09 | No | Ok (few bad cols)
42 | 27/1/10 | Hires |  |  | 
50 | 27/1/10 | Hires |  |  | 
Newly bonded/trimmed boards
Good data taken at 2009 beam test (not in my possession)
PCB | Bonded | Chip | Trimmed | Potted | Status
48 |  | 12u+DPW | Yes | Yes | 
43 |  | 12u+DPW | Yes | Yes | 
41 |  | 12u+DPW | Yes | Yes | 
39 |  | 12u+DPW | Yes | Yes | 
32 |  | 12u+DPW | Yes | Yes | 
29 |  | 12u+DPW | Yes | Yes | 
26 |  | 18u HiRes | Yes | Yes | 
21 | Aligned for laser | 12u Hires | Yes | Yes | 

## Slide 3: TPAC boards
PCB | Bonded | Chip | Trimmed | Potted | Status
37 |  | 12u Hires | ? | Yes | ?
49 |  | TPAC1.1 |  |  | Sent to Bristol 2009
27 | TPAC1.1 sensor | 12u+DPW |  |  | PCB used for debug
25 |  |  |  |  | 
24 |  |  |  | No | Lab 9?
23 | Aligned for laser | 18u hires |  | No | Lab 9?
Status unknown
PCB | Bonded | Chip | Trimmed | Potted | Status
47 |  |  |  | Yes | Died at cern
46 |  |  |  | Yes | Power shorts
45 |  |  |  | Yes | Died at cern
35 |  |  |  | Yes | Low current, no hits
33 |  | 12u+DPW |  | Yes | Bad config at cern
22 | Never |  |  | No | PCB DACs fail
Likely dead boards

## Slide 4: TPAC boards
PCB | Bonded | Chip | Trimmed | Potted | Status
40 | TPAC1.1 sensor | 5u+DPW |  | No | (Alignment?)
34 | TPAC1.1 sensor | 5u+DPW |  | No | Aligned for laser
31 | TPAC1.1 sensor | 5u-DPW |  | No | Aligned for laser
30 | TPAC1.1 sensor | 12u-DPW |  | No | Aligned for laser
28 | TPAC1.1 sensor | 12u+DPW |  | No | Aligned for laser
Retained for analog pixel laser tests

## Slide 5: TPAC variants
GDS | TPAC 1.0 |  |  |  | TPAC1.1 |  |  |  | TPAC 1.2 |  |  | 
Epi | 5u |  | 12u |  | 5u |  | 12u |  | 12u |  | 12u Hires | 18u Hires
DPW |  |  |  |  |  |  |  |  |  |  |  | 
Pixel | preSample |  | preShape | 
Variant | C1 | C2 | C1 | C2
Test pixel |  |  |  | 
Array |  |  |  | 
Pixel | preShape | 
Variant | C2 revised layout | C2 from TPAC1.0
Test pixel |  | 
Array |  | 

## Slide 6: TPAC results map
GDS |  | TPAC 1.0 |  |  |  | TPAC1.1 |  |  |  | TPAC 1.2 |  |  | 
Epi |  | 5u |  | 12u |  | 5u |  | 12u |  | 12u |  | 12u Hires | 18u Hires
DPW |  |  |  |  |  |  |  |  |  |  |  |  | 
Pixel variant |  |  |  |  |  |  |  |  |  |  |  |  | 
preSample 1.0 | Test pixels | Laser | Laser | Laser 55Fe Timing | Laser |  |  |  |  |  |  |  | 
 | Array |  |  | (Beam) | (Beam) |  |  |  |  |  |  |  | 
preShape 1.0 | Test pixel |  |  |  |  |  |  | 55Fe | 55Fe | 55Fe |  |  | 
 | Array |  |  | 55Fe (Beam) | (Beam) |  |  |  |  |  |  |  | 
preShape 1.2 | Test pixel |  |  |  |  |  |  | (Laser) | (Laser) 55Fe | 55Fe |  | 55Fe | 
 | Array |  |  |  |  |  |  |  |  | Beam |  | Beam | Beam

## Slide 7: My TPAC testing wish-list
Laser has now been mended
  Hopefully this will have eliminated
    The asymmetry we saw in laser scans on TPAC1.2 pixels
    The difficulty I had stimulating the 5u (esp –DPW) pixel at all (weak pulse)
    The wavelength
      assumed to be white light, not IR towards the end of previous laser tests
Would ideally like to take a new & complete set of laser results
  Shaper pixel
    Amplitude maps (or selected line scans)
      5u ±DPW
      12u ±DPW
      Hires 12/18u
    Timing
      12u STD vs 12u Hires
Need
  One USBDAQ for the laser system (calicedaq1)
  Approx 1 month
    Can’t expect to get started immediately
      Bound to be some new artefact to understand!
      Some preliminary calibration/cross-checks with old results necessary
        Treat as a new laser
        Comparison with previous results cannot be gaurenteed
    2 months linear time?